## Calculator
Panel and Battery system payback calculator - NSW/SA
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
Input 1: Cents/kWh paid on energy plan | 35 | 37.45 | 40.0715 | 42.8765 | 45.8779 | 49.0893 | 52.5256 | 56.2024 | 60.1365 | 64.3461
Input 2: Daily usage kWh | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Input 3: Panel + Battery System Cost (Ex: 6.6kW panels + 10 kWh battery) | 11935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Input 4: Yearly increase in energy costs (in % per year) | bar: Year 1 to Year 10
Input 5: Electricity bill savings from solar | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Output: Cost per day (without supply charge) | 8.4 | 8.988 | 9.6172 | 10.2904 | 11.0107 | 11.7814 | 12.6061 | 13.4886 | 14.4328 | 15.4431
Output: Yearly Energy Bill | 3066 | 3280.62 | 3510.2634 | 3755.9818 | 4018.9006 | 4300.2236 | 4601.2393 | 4923.326 | 5267.9588 | 5636.7159 | 42361.2294
Output: Yearly solar savings | 2759.4 | 2952.558 | 3159.2371 | 3380.3837 | 3617.0105 | 3870.2012 | 4141.1153 | 4430.9934 | 4741.1629 | 5073.0444 | 38125.1065
Output: New yearly energy bill (without supply charges + other charges) | 306.6 | 328.062 | 351.0263 | 375.5982 | 401.8901 | 430.0224 | 460.1239 | 492.3326 | 526.7959 | 563.6716 | 4236.1229
Output: Cumulative cost savings on energy bill | 2759.4 | 5711.958 | 8871.1951 | 12251.5787 | 15868.5892 | 19738.7905 | 23879.9058 | 28310.8992 | 33052.0622 | 38125.1065 | 188569.4851
Estimated System Payback Time in Years | Year 1: 3.9063
Estimated Total Savings Over 10 Years | Year 1: 38125.1065
Assumptions:
Energy increase every year is the same
Solar savings every year is the same % every year
Exclusions:
This is based on single rate and does not factor for changes to kWh cost from peak, to shoulder to off-peak.
This does not factor for sesasonal variations
Important:
This caculator should not be used for exact calculations. It is designed to give you an estimated time frame for battery payback.
Battery Only system payback calculator
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
Input 1: Battery size (in kWh) (e.g. 10/15/20) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Input 2: System cost (battery retrofit) (Example: 10 kWh battery) | 8633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Input 3: Yearly increase in energy costs (in % per year) | bar: Year 1 to Year 10
Input 4: (Energy plan kWh/c inc GST) minus (solar feed in rate kWh/c in GST) | 34 | 36.38 | 38.9266 | 41.6515 | 44.5671 | 47.6868 | 51.0248 | 54.5966 | 58.4183 | 62.5076
Output: Cost per day (without supply charge) | 3.4 | 3.638 | 3.8927 | 4.1651 | 4.4567 | 4.7687 | 5.1025 | 5.4597 | 5.8418 | 6.2508
Output: Yearly solar savings from battery use | 1241 | 1327.87 | 1420.8209 | 1520.2784 | 1626.6978 | 1740.5667 | 1862.4064 | 1992.7748 | 2132.269 | 2281.5279
Output: Cumulative cost savings on energy bill | 1241 | 2568.87 | 3989.6909 | 5509.9693 | 7136.6671 | 8877.2338 | 10739.6402 | 12732.415 | 14864.684 | 17146.2119
Estimated System Payback Time in Years | Year 1: 5.8597
Estimated Total Savings Over 10 Years | Year 1: 17146.2119
Assumptions:
Energy increase every year is the same
Solar savings every year is the same % every year
Exclusions:
This is based on single rate and does not factor for changes to kWh cost from peak, to shoulder to off-peak.
This does not factor for sesasonal variations
Important:
This caculator should not be used for exact calculations. It is designed to give you an estimated time frame for battery payback.

## Disclaimer
Calculator Terms and Conditions General Information: The calculation tool provided is intended for general informational purposes only. While we strive to ensure the accuracy and reliability of the tool, individual results may vary based on specific regional factors, consumption patterns, energy prices, and other variables. Estimates: The payback period estimates obtained through the tool are based on a range of assumptions and simplified calculations. They should not be considered as definitive financial advice. We strongly recommend consulting with a qualified financial advisor or energy expert for a more personalized assessment. System Performance: The payback calculations are based on the projected performance of solar and battery systems. Real-world system performance may vary due to weather conditions, equipment quality, and maintenance practices. Financial Factors: The payback estimates do not consider other financial factors, such as financing costs, loan terms, interest rates, or potential changes in electricity consumption over time. These factors may impact the overall financial analysis. Independent Evaluation: The calculation tool does not replace a comprehensive evaluation of your property's energy needs. We strongly advise seeking advice from our qualified energy specialists to ensure an accurate assessment of your specific requirements. Liability: We disclaim any liability or responsibility for any errors, inaccuracies, or omissions in the calculation tool. The tool is provided on an "as-is" basis, and its use is at your own risk. By using this calculation tool, you acknowledge and accept the terms of this disclaimer. Any decisions or actions taken based on the tool's results are solely your responsibility. If you are uncertain about any aspect of the calculations or information provided, please contact us.